## Slide 1: SWRv Calculations
TAG THIS PRESENTATION @DOEE_DC
Notes: In this section of the general compliance training we’ll go over the stormwater retention volume or swerve and how to calculate it.

## Slide 2
Example #1
1150 50th Pl NE
Renovation planned for interior of entire building
Building area: 37,250 square feet
SWRv = ?
@DC
@DOEE_DC
Notes: Similar model to DC Snow Teams

## Slide 3
Example #1
1150 50th Pl NE
Renovation planned for interior of entire building
Building area: 37,250 square feet
SWRv = ?
@DC
@DOEE_DC
Notes: Similar model to DC Snow Teams

## Slide 4
Example #1
1150 50th Pl NE
Renovation planned for interior of entire building
Building area: 37,250 square feet
SWRv = 2,359 ft3 or 17,646 gal
@DC
@DOEE_DC
Notes: Similar model to DC Snow Teams

## Slide 5
Example #2
@DC
@DOEE_DC
1207 H St NE
Renovate existing building and construct new building in parking lot
Property area: 23,220 square feet
Proposed renovated building area: 4,225 square feet
Proposed bioretention area: 3,795 square feet
Proposed new building area: 15,200 square feet
SWRv = ?
Notes: How do we deal with the bioretention area? Impervious because SWRv is a calculation of how much water will get to the bmp. (nearly) All the water that lands on a bmp gets to it.

## Slide 6
Example #2
@DC
@DOEE_DC
1207 H St NE
Renovate existing building and construct new building in parking lot
Property area: 23,220 square feet
Proposed renovated building area: 4,225 square feet
Proposed bioretention area: 3,795 square feet
Proposed new building area: 15,200 square feet
SWRv = ?
Notes: How do we deal with the bioretention area? Impervious because SWRv is a calculation of how much water will get to the bmp. (nearly) All the water that lands on a bmp gets to it.

## Slide 7
Example #2
@DC
@DOEE_DC
1207 H St NE
Renovate existing building and construct new building in parking lot
Property area: 23,220 square feet
Proposed renovated building area: 4,225 square feet
Proposed bioretention area: 3,795 square feet
Proposed new building area: 15,200 square feet
SWRv = 2,072 ft3 or 15,499 gal
Notes: How do we deal with the bioretention area? Impervious because SWRv is a calculation of how much water will get to the bmp. (nearly) All the water that lands on a bmp gets to it.

## Slide 8
Example #2
@DC
@DOEE_DC
1207 H St NE
Renovate existing building and construct new building in parking lot
Property area: 23,220 square feet
Proposed renovated building area: 4,225 square feet
Proposed bioretention area: 3,795 square feet
Proposed new building area: 15,200 square feet
SWRv = 2,072 ft3 or 15,499 gal
Notes: How do we deal with the bioretention area? Impervious because SWRv is a calculation of how much water will get to the bmp. (nearly) All the water that lands on a bmp gets to it.