## Slide 1: Stormwater BMP Specifications
Chapter 3
TAG THIS PRESENTATION @DOEE_DC
Notes: Chapter 3 of the stormwater management guidebook covers the stormwater bmp specifications

## Slide 2: Best Management Practices (BMPs)
@DOEE_DC
3.2 Green Roofs | 3.9 Open Channel Systems
3.3 Rainwater Harvesting | 3.10 Ponds
3.4 Impervious Surface Disconnection | 3.11 Stormwater Wetlands
3.5 Permeable Pavement Systems | 3.12 Storage Practices
3.6 Bioretention | 3.13 Proprietary Practices
3.7 Filtering Systems | 3.14 Tree Planting and Preservation
3.8 Infiltration | 

## Slide 3
Specification Format
@DC
@DOEE_DC
Feasibility Criteria
Conveyance Criteria
Pretreatment Criteria
Design Criteria
Landscaping Criteria
Construction Sequence
Maintenance Criteria
Retention Value Calculations
References
Notes: the guidebook is arranged such that the specifications for each bmp type are laid out in the same format and includes the following subsections

## Slide 4
3.3 Rainwater Harvesting

## Slide 5
Rainwater Harvesting Feasibility Criteria
@DC
@DOEE_DC
Effectiveness for retention requirements
  Tank size
  Dedicated demand
Minimal space or setback requirements
Risk-based framework for protecting public health
  Appendix N Rainwater Harvesting Treatment and Management Requirements
Notes: Demand important because the tank must have available storage
Appendix N
Treatment required based on source and use

## Slide 6
Conveyance and Pretreatment
@DC
@DOEE_DC
Inflow pipe higher than outlet pipe
Overflow mechanism
Pretreatment filters
Distribution system required

## Slide 7
Design Criteria
@DC
@DOEE_DC
Low water, detention, overflow, and freeboard volumes

## Slide 8
Design Criteria – System Sizing
@DC
@DOEE_DC
Find at https://doee.dc.gov/swguidebook
Notes: Use historic rainfall data
Use average daily volume even though it’s likely to be empty in summer and full in winter

## Slide 9
Design Criteria – System Sizing
@DC
@DOEE_DC
Notes: Use historic rainfall data
Use average daily volume even though it’s likely to be empty in summer and full in winter

## Slide 10
Landscaping Criteria
@DC
@DOEE_DC
Delineate area to be irrigated
Default demand of 1 inch/week between May and October
Certified Landscaped Expert must sign for additional demand
Notes: If the stored rainwater is to be used for irrigation, you must indicate the area that is to be irrigated. The default irrigation water demand is 1 inch per week between may and October. If you want to adjust that demand, a certified landscape expert must justify and sign for that additional demand.